Nanoparticles1 experiment AuNP in CT scan

As the first step in the lab, I injected all holes (91holes) with AuNP (0.05 mg/ml) and started with holes 7mm to 4mm (13ml AuNP and 107ml water as a solution). Then I went to the MGNG centre at Royal Devon and Exeter Hospital to do a CT scan.

| 7mm |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 6.5mm |  |  |  |  |  |  |  |  |  |  |  |  |
| 6mm |  |  |  |  |  |  |  |  |  |  |  |  |
| 5.5mm |  |  |  |  |  |  |  |  |  |  |  |  |
| 5mm |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.5mm |  |  |  |  |  |  |  |  |  |  |  |  |
| 4mm |  |  |  |  |  |  |  |  |  |  |  |  |

How to calculate AuNPs with water! As a solution

V= Pi×heigh×radind squared

V= 3.14×5cm×3.52,….=V/100

7mm=1.92 →×13=25ml

6.5mm=1.65 →×13=21.45ml

6mm=1.41 → ×13=18.33ml

5.5mm=1.18 →×13=15.34ml

5mm=0.98 →×13=12.74ml

4.5mm=0.79 →×13=10.27ml

4mm=0.62 →×13=8.06ml

Total = 111.19

The concentration with solution=0.05*13/120=0.0054mg/ml

Figure1                                                               Figure2

Figure3                                                            Figure4

Figure5

Methods

Quantitative and qualitative methods are various methodologies used to analyse and interpret the imaging data produced from a CT scan.

Quantitative methods:

- SNRholes=Mean value holesStandard deviation holes

- CNR = Mean value holes -Mean value PerspexStandard deviation Perspex

- E=−∑i=0P(i)⋅log2​(P(i)) using by MATLAB software

| KvP Rotation time | 70 | 80 | 100 | 120 | 140 |
| --- | --- | --- | --- | --- | --- |
| 0.5 | Image1 | Image2 | Image3 | Image4 | Image5 |
| 1 | Image6 | Image7 | Image8 | Image9 | Image10 |
| 0.5 | Image1 | Image2 | Image3 | Image4 | Image5 |
| 1 | Image6 | Image7 | Image8 | Image9 | Image10 |

Images

70 Kvp ,0.5s, 215

70 Kvp ,1s , 215

80 Kvp ,0.5s, 215

80 Kvp ,1s, 215

100 Kvp ,0.5s, 215

100 Kvp , 1s, 215

120 Kvp ,0.5s, 215

120 Kvp , 1s, 215

140 Kvp ,0.5s, 215

140 Kvp , 1s, 215

70 Kvp ,0.5s, 429

70 Kvp ,1s , 429

80 Kvp ,0.5s, 429

80 Kvp ,0.5s, 429

100 Kvp ,0.5s, 429

100 Kvp ,1s, 429

120 Kvp ,0.5s, 429

120 Kvp ,1s, 429

140 Kvp ,0.5s, 429

140 Kvp ,1s, 429

Results

- CNR with AuNPs

2-Entropy with AuNPs

I tried to write a coding to calculate an entropy value using a MATLAB software.

Firstly, I converted the better images into tiff format. Then I built a new folder these images. Finally, I wrote a code below inside a MATLAB.

clc

clear

I=imread('80KvpRT0.5.tif');

J=entropyfilt(I);

figure

imshow(J,[]);

title('result of entropy filtering 80Kvp');

e80KvP=entropy(I);

Entropy results

Entropy 80 KvP 0.5 Rotation time was 1.23

Entropy 80 KvP 1 Rotation time was 1.27

Entropy 100 KvP 0.5 Rotation time was 1.271

Entropy 100 KvP 1 Rotation time was 1.34

Entropy 120 KvP 0.5 KvP Rotation time was 1.34

Entropy 120 KvP 1 KvP Rotation time was 1.31

Entropy 140 KvP 0.5 KvP Rotation time was 1.27

Entropy 140 KvP 1 KvP Rotation time was 1.27